## Slide 1
"LINEGUARD"- Power Line Fault Detection System
Presented by,
TEAM MEMBER 1(Venkatachalam N)
TEAM MEMBER 2(Naveen V)
TEAM MEMBER 3(Nishanth M)
TEAM MEMBER 4(Naveen Kumar S)
Guided By,
Prof.VMC.VENKATRAJA,M.E.,

## Slide 2
CONTENTS
    Introduction
    Abstract
    Existing System
    Proposed System
    System Requirements
    Methodology
    Modules
    Key Features
    Future Enhancement
    Reference

## Slide 3
INTRODUCTION
Electric power transmission lines carry electricity over long distances from generating stations to consumers.
Due to weather conditions, short circuits, equipment failure, or external damage, faults may occur in transmission lines.
These faults can:
Interrupt power supply
Damage equipment
Increase maintenance cost
Cause safety hazards
Therefore, a fast and accurate fault detection system is required to identify and isolate faults automatically.

## Slide 4
ABSTRACT
Transmission lines play a vital role in delivering electrical power from generating stations to consumers.
However, faults such as short circuits, line breaks, overcurrent, and insulation failure can cause serious power interruptions and equipment damage.
This project presents an intelligent transmission line fault detection system that continuously monitors voltage and current parameters in real time using sensors and a microcontroller.
The system is designed to:
• Detect faults automatically • Classify the type of fault • Send instant alerts to operators • Isolate the faulty section using relays • Reduce outage time and maintenance effort
By implementing this system, power reliability is improved, manual inspection is minimized, and overall safety of the electrical network is enhanced.

## Slide 5
EXISTING SYSTEM
Currently, many power systems use:
Manual inspection
Periodic checking
Basic protection relays only
Problems:
Slow fault identification
Requires manpower
Large downtime
High maintenance cost
Not suitable for real-time monitoring
Reality check:
Manual methods are outdated for modern smart grids.

## Slide 6
PROPOSED SYSTEM
Our system introduces:
Sensors for current & voltage
Microcontroller processing
Real-time monitoring
Automatic fault detection
Alert system
ADVANTAGES OF PROPOSED SYSTEM
Fast detection (milliseconds)
Low cost
Less human intervention
Accurate fault location
Continuous monitoring

## Slide 7
SYSTEM REQUIREMENTS
HARDWARE REQUIREMENTS
SOFTWARE REQUIREMENTS
Microcontroller (Arduino/ESP32/Raspberry Pi)
Current sensor (CT)
Voltage sensor
Relay module
GSM/WiFi module
Power supply
Transmission line model
Embedded C / Python
Arduino IDE
Monitoring dashboard (optional)

## Slide 8
MODULES
1️⃣ Sensing Module
• Measures voltage and current continuously • Uses current transformer and voltage sensor • Sends real-time data to controller
2️⃣ Processing Module
• Microcontroller collects sensor data • Performs signal analysis • Compares values with threshold limits
3️⃣ Fault Detection Module
• Identifies abnormal conditions • Detects short circuit, overload, line break • Classifies fault type accurately
4️⃣ Protection Module
• Activates relay automatically • Isolates faulty section • Prevents equipment damage
5️⃣ Alert & Monitoring Module
• Sends fault notification (GSM/WiFi) • Displays status on system/dashboard • Helps quick maintenance action

## Slide 9
KEY FEATURES
Real-time monitoring​
Automatic fault detection​
Low cost implementation​
Easy installation​
Portable design​
Less maintenance​
High reliability​
​

## Slide 10
FUTURE ENHANCEMENT
Realistic improvements:
AI/ML based prediction
Cloud monitoring
Mobile app dashboard
GPS fault location
Integration with smart grid
Solar-powered system

## Slide 11
CONCLUSION
CONCLUSION
• Designed an intelligent transmission line fault detection system • Continuously monitors voltage and current parameters • Detects and isolates faults automatically • Reduces manual inspection and maintenance time • Improves reliability and safety of power distribution • Low-cost and easy to implement solution
Final Statement
This system provides a simple, fast, and efficient method for protecting transmission lines and ensuring uninterrupted power supply.

## Slide 12
REFERENCE
• IEEE Xplore Digital Library – Research papers on transmission line fault detection and smart grid protection
• Power System Protection and Switchgear – B. Ravindranath & M. Chander
• Power System Analysis and Design – J. Duncan Glover, Mulukutla S. Sarma, Thomas Overbye
• Arduino Official Documentation – Microcontroller programming and hardware interfacing
• Current Transformer (CT) and Voltage Sensor Datasheets – Manufacturer specifications
• Research articles on Smart Grid Monitoring and Fault Classification Techniques

## Slide 13
THANK YOU